## Slide 1: PID Controller

## Slide 2: PID Controller
P = Proportional (Proportional means value of X –increases than Y-
axis also increases
I = Integral (Values are Increased)
D = Derivative (Values are Decreased)

## Slide 3: Function Of Controller
Controller is used control the Steady State Error or Transient Response of the System.

## Slide 4
Types Of Controllers
Proportional (P)
Controller
Integral (I) Controller
Derivative (D) Controller
Proportional-Derivative Controller
Proportional-Integral Controller
Proportional-Integral-Derivative Controller

## Slide 5: P-Controller (Proportional Controllers)
P-Controller is also called as Proportional Controller.
It is a device, and its output signal is Proportional to its input signal.
Main advantage of this Controller is to improves the Steady State Error and also increase the Stability of the System.
Another advantage is to decreases the Sensitivity of the Systems to Parameter Variations.
Disadvantage of this controller is to provide the constant steady state error.
Transfer Function of P-Controller is

## Slide 6: P-Controller (Proportional Controllers)
Controller
Plant
Feedback
R(s)
Input
C(s)
Output
-
Error Signal = Difference between output (feedback) and Input R(s) is the Error Signal Give to Controller
Output Signal is coming out from the Controller. OR also called as Manipulated Signal OR also called as Controlled Signal
Our main goal is to minimize the error using Proportional Controller

## Slide 7: P-Controller (Proportional Controllers)
Controller
Plant
R(s)
Input
C(s)
Output
-
KP
Controller Output
OR
Manipulated Output M(t)
Controller Input
OR
Error signal E(t)
Proportional Controller has constant Gain (KP)

## Slide 8: P-Controller (Proportional Controllers)
KP
M(t)
E(t)
Output of Proportional Controller M(t) is the Input E(t) * Constant Gain KP

## Slide 10: Significance of Proportional Controller
How output is reacting to the input, we consider two cases:
First Case: We choose lower value of KP , then our output response will be slower in terms of changing in output or taking more time from one level of Amplitude to another level of Amplitude.

## Slide 11: Significance of Proportional Controller
Second Case: We choose higher value of KP , then our output response will be rising faster in terms of changing in output or taking less time from one level to another level of Amplitude.

## Slide 12: Calculate the Second Order Transfer Function of Closed Loop System
G(s)

## Slide 13: Second-Order Transfer Function of Proportional Controller
--- (B)
---- (A)
G(s)
Compare equation (A) and (B), Kp is involved in numerator as well as denominator with
KP in series with G(s) then multiply KP with G(s)

## Slide 14: P-I-Controller
P-I-Controller is also called as Proportional Integral Controller.
It is a device, and its output signal is Proportional to its input signal.
Main advantage of this Controller is to improves the Steady State Error and also increase the Stability of the System.
Another advantage is to decreases the Sensitivity of the Systems to Parameter Variations.
Disadvantage of this controller is to provide the constant steady state error.
Transfer Function of P-Controller is

## Slide 18
Proportional Controller (KP)
G(s)
H(s)
C(s)
R(s)
Block Diagram of P (Proportional) Controller
Feedback Signal
Error Signal
Actuating Signal ea(t)
+
__
E(s)

## Slide 19
Derivative Controller (KD)
G(s)
H(s)
C(s)
R(s)
Block Diagram of D (Derivative) Controller
Feedback Signal
Error Signal
Actuating Signal ea(t)
+
__
E(s)

## Slide 20
Integral Controller (KI)
G(s)
H(s)
C(s)
R(s)
Block Diagram of I (Integral) Controller
Feedback Signal
Error Signal
Actuating Signal ea(t)
+
__
E(s)

## Slide 21
Proportional Controller (KP)
G(s)
H(s)
C(s)
R(s)
Block Diagram of PD (Proportional Derivative) Controller
+
__
E(s)
Derivative Controller (KD)
+
+

## Slide 22
Proportional Controller (KP)
G(s)
H(s)
C(s)
R(s)
Block Diagram of PI (Proportional Integral) Controller
+
__
E(s)
Integral Controller (KI)
+
+

## Slide 23
Proportional Controller (KP)
G(s)
H(s)
C(s)
R(s)
Block Diagram of PID (Proportional Integral Derivative) Controller
+
__
E(s)
Derivative Controller (KD)
+
+
Integral Controller (KI)
+

## Slide 24
Mathematical Equations of P, D, I, PD, PI And PID Controllers
In Proportional Controller the Actuating Signal is Proportional to the
error signal e(t).
In Derivative Controller the Actuating Signal is Proportional to the
derivative error signal de(t).

## Slide 25
Mathematical Equations of P, D, I, PD, PI And PID Controllers
In Integral Controller the Actuating Signal is Proportional to the
Integral of error signal .
In Proportional Derivative Controller the Actuating Signal is
Proportional to the combination of Proportional of error signal
and Derivative of error signal .

## Slide 26
Mathematical Equations of P, D, I, PD, PI And PID Controllers
In Proportional Integral Controller the Actuating Signal is
Proportional to the combination of Proportional of error signal
and Integral of error signal.
In Proportional Integral Derivative Controller the Actuating Signal is
Proportional to the combination of Proportional of error signal
, Integral of error signaland Derivative of error signal .